## Slide 1
Prior to new construction or retrofitting, a customer submits an application to MCWD
Review Comments returns to customer
MCWD Recycled Water Plan Approval
Review comments and resubmit
Recycled Water Application
Engineering staff review application document
Notification of MCWD Approval and pending State Review
Recycled Water Plan Approval Issued
Engineering staff prepare Plan Approval Invoice
User commences construction
Recycled Water Plan Approval Invoice
User pays applicable fees
Engineering staff prepare Plan Approval letter and coordination with Construction Inspectors
Recycled Water Application Process Flow Chart Part 1
Recycled Water
Customer
Marina Coast Water District
Operations
Engineering
Customer Service
See Next Page 2
Yes
No

## Slide 2
Passing results
Construction Inspection
Installation of the temporary hydrant jumper and meter?
Recycled Water Plan Approval
User commences construction
User assist with site inspections
CCC Results submitted to MCWD within 15 days
User notifies regulatory agencies of initial cross-connection test
Operations staff verify
User completes initial cross-connection test
Operations staff verify
Engineering/operations file Test results
Engineering/operations file Test results
Temporary Hydrant connection request
User Submits As-builts
See Next Page 3
Recycled Water As-builts
Recycled Water Construction Process Flow Chart Part 2
Recycled Water
Customer
Marina Coast
Water District
State Regulatory
Authorities
Operations
Engineering
Customer Service
Engineering reviews and submits hydrant connection to Operations for review and install
Engineering/operations file drawings
See Page 2
Must be notified 2 days prior to test date, results submitted within 30 days
Must be notified 2 days prior to test
CCC Results submitted to State within 30 days of the test

## Slide 3
Notification of Annual Monitoring Requirements
Annual Reporting
Quarterly Monitoring submitted to MCWD
Meter Application
Engineering prepares Inspection Fee Invoice
User completes Meter Application
Recycled Water
Customer
Marina Coast
Water District
State Regulatory
Authorities
Engineering reviews and submits Meter application to Customer Service
Customer Service processes and installs meter
User completes required quarterly monitoring, training and reporting
Engineering reviews and submits annual reports to State Regulators
Operations complete annual inspections and data necessary for annual report
Recycled Water Permit Approval Process Flow Chart Part 3
Operations
Engineering
Customer Service
Recycled Water Permit Issued
Inspection Fee Invoice
User Pays Inspection Invoice
User Requests Coverage Test and Final Inspection
Must be notified 2 days prior to final inspection and coverage test
Must be notified 2 days prior to final inspection and coverage test
Coverage Test Inspection Report

## Slide 4
User Verbal Notification of Backflow event/cross connection within 24 hours
Cross-Connection Hazard Verbal
Engineering/operations file and contact State
Determination based on the severity
User Written Notification of Backflow event/cross connection within 10 days
Cross-Connection Hazard Written
Engineering/operations file and contact State
Recycled Water Compliance Process Flow Chart
Recycled Water
Customer
Marina Coast
Water District
State Regulatory
Authorities
Operations
Engineering
Customer Service
File
Quarterly Observation Inspections
Quarterly Backflow Inspections
Annual Backflow Testing
Annual Staff Training Records
Modifications/
Maintenance
Inspection Observation Report
Backflow Inspection Report
Certified Test Results
Staff Training Records
Plans of modifications or maintenance
Engineering to review and issue Plan Approval and Amended Permit after construction
Engineering/operations file and compile for Annual Report
Quarterly Reports shall be submitted on or before March 15th , June 15th , September 15th , and December 15th of each year
File
Annual Reports shall be submitted on or before March 15th of each year
Quarterly Application Rate (inches/acre/Month)
Quarterly Application Rate

## Slide 5
Complied Permittee’s Cross-Connection Hazard Written
MCWD Annual Recycled Water Compliance Process Flow Chart
Recycled Water
Customer
Marina Coast
Water District
State Regulatory
Authorities
Operations
Engineering
File
Complied Permittee’s Inspection Observation Report
Complied Permittee’s
Backflow Inspection Report
Complied Permittee’s
Application Rate and acreage
Complied Permittee’s
Staff Training Records
Complied Permittee’s
Plans of modifications or maintenance
Engineering/operations file and compile for Annual Report?
Annual Reports shall be submitted on or before April 1st of each year
Summary Table of Users and Uses
Water flow (gpd) and Volume (acre-feet) Monthly
Annual Application Rate (inches/acre/year
Summary Table of Inspection and Enforcements
Quarterly Tank Inspections /Observations
5 Year interior Inspection
Summary of District CCC
MCWD Annual Report